[image: image1.jpg]


      Nevada Fire Department   
[image: image2.jpg]




OPEN BURNING PERMIT POLICY

1. The prevailing winds at the time of burning shall be away from nearby residences and CAN NOT EXCEED 15 MPH.  Permit will be revoked if complaints are received from neighbors.

2. A garden hose, or fire extinguisher shall be available at all times to extinguish the fire.

3. Must obtain permission to burn, prior to starting the fire by calling the Nevada Fire Department at 417-448-5105.

4. ALL BURNING SHALL BE CONSTANTLY ATTENDED BY A COMPETENT PERSON UNTIL THE FIRE IS COMPLETELY EXTINGUISHED.

5. The size of the fire can’t exceed 72” W. by 72” L. by 4’ high and must be within a cleared area.

6. Fire must be fully extinguished when unattended.

7. The hours for open burning are 0700-0000 hours.  (7:00 a.m. till Midnight)

8. The permit is valid for one (1) day only.

9. The OPEN BURNING shall be a minimum of 25 feet from any structure.

10. No flammable or combustible liquid shall be used to start or promote burning.

11. Burning garbage, rubber, plastic, leather, dead animals, bedding, furniture, or trash containing food cans, bottles, and disposable diapers is prohibited.

12. The burning of construction materials of any kind is prohibited.

13. The burning of any combustible material in any manner that creates a hazard to property or persons is prohibited.

14. NO PERSON SHALL BURN ANY MATERIAL UPON PUBLIC RIGHT-OF-WAY. (Streets, sidewalks, etc.)

If you require further assistance, please contact the Nevada Fire Department at 417-448-5105.
Troy Denney
Fire Chief
OFFICE OF THE FIRE CHIEF
  417-448-5105 ♦ 316 W. Cherry, Nevada, MO  64772 ♦tdenney@nevadamo.org

[image: image1.jpg][image: image2.jpg]